## Instructions
Asset Hierarchy Template
A six-level structure for CAFM / EAM / CMMS asset registers
How to use this template
1. Open the Hierarchy sheet. The first 5 rows are worked examples; rows 6+ are blank for your data.
2. Work top-down. Fill Site/Campus first, then Building, then Floor, and so on. Each row is one physical asset.
3. Reuse parent values exactly. Inconsistent capitalisation (HQ vs Hq vs hq) is the most common reason hierarchies break.
4. Asset Code is the unique identifier downstream systems will use. The suggested format is SITE-BLDG-FLR-RM-POS-AST (see Code Conventions sheet).
5. Criticality is a single letter: H (High), M (Medium), L (Low). High criticality drives PPM frequency, spare-parts holding, and SLA tiering.
6. Use the Asset Code in the Parent ID column to encode parent/child relationships when an asset belongs to another asset (e.g. a pump motor under a pump skid).
7. Validate before importing: every row must have all six hierarchy levels populated. Empty levels create orphans in the EAM.
8. Tip: keep one Excel workbook per site and merge at import time if you operate multiple sites. Cleaner audit trail than one mega-sheet.
Companion reading
mabbaz.com/blog-post/asset-hierarchy-design-cafm-eam - the strategic guide to the six-level structure
mabbaz.com/blog-post/equipment-vs-position-model-eam - why the Position layer matters
mabbaz.com/blog-post/asset-criticality-classification - how to assign H / M / L
Lead-magnet template from MAbbaz.com ¦ enterprise integration and implementation guidance ¦ mabbaz.com

## Hierarchy
Site / Campus | Building | Floor | Room / Area | Position | Asset | Asset Code | Asset Type | Manufacturer | Model | Serial No | Install Date | Warranty Expiry | Criticality | Status | Parent Asset Code | Notes
HQ Campus | Admin Building | Ground Floor | Reception | POS-01 | Air Handling Unit 01 | HQ-ADM-GF-REC-POS01-AHU01 | HVAC | Trane | TWE090 | SN12345 | 2022-03-15 | 2027-03-15 | H | Active |  | Roof-mounted AHU serving reception area
HQ Campus | Admin Building | Level 02 | Server Room | POS-01 | Precision Cooling Unit 01 | HQ-ADM-L02-SRV-POS01-PCU01 | HVAC | Stulz | CWO 51 | SN67890 | 2023-01-10 | 2026-01-10 | H | Active |  | Critical IT cooling, redundant pair with PCU02
HQ Campus | Admin Building | Level 02 | Server Room | POS-02 | Precision Cooling Unit 02 | HQ-ADM-L02-SRV-POS02-PCU02 | HVAC | Stulz | CWO 51 | SN67891 | 2023-01-10 | 2026-01-10 | H | Active |  | Critical IT cooling, redundant pair with PCU01
North Site | Warehouse 03 | Ground Floor | Bay 2 | POS-01 | Forklift FL-002 | NS-WH3-GF-BAY2-POS01-FL002 | MHE | Toyota | 8FGCU25 | SN-TFL2025 | 2024-06-01 | 2029-06-01 | M | Active |  | Service shift A only
North Site | Warehouse 03 | Mezzanine | Plant Room | POS-01 | Chiller Plant 01 | NS-WH3-MEZ-PLT-POS01-CH01 | HVAC | Carrier | 30HXC150 | SN-CH01-2021 | 2021-05-20 | 2024-05-20 | H | Active |  | Out of warranty - PPM contract in place

## Code Conventions
Suggested Code Format
Consistent codes are the difference between a clean register and a broken one
Pattern | SITE-BLDG-FLR-RM-POS-AST
Example | HQ-ADM-L02-SRV-POS01-PCU01
SITE | 2-3 char site code. e.g. HQ, NS (North Site), KSA, UAE
BLDG | 3-4 char building code. e.g. ADM, WH3, OPS
FLR | 2-3 char floor code. GF, L01, L02, MEZ, B01 (basement)
RM | 3-5 char room code. SRV, REC, BAY2, M101
POS | POS + 2 digit running number per room. POS01, POS02
AST | 3-5 char asset type + running. AHU01, PCU01, FL002
Lead-magnet template from MAbbaz.com ¦ enterprise integration and implementation guidance ¦ mabbaz.com