## Instructions
SLA Matrix
A response and resolution framework for FM, IT, and shared-service operations
How to use this template
1. Open the SLA Matrix sheet. Rows are severities (P1 critical to P4 low). Columns are service tiers (Gold / Silver / Bronze) and the contractual times for each.
2. Edit the times to match what your contracts (or internal commitments) actually promise. The numbers in this template are a defensible starting point, not a universal answer.
3. Response time is the clock from ticket logged to first human action. Resolution time is the clock from logged to restored. Both pause during agreed maintenance windows.
4. Tier definitions live on the Definitions sheet. Severities are a function of business impact, not technical effort.
5. Escalation columns name the role, not the person. Persons change; roles persist.
6. Pair this matrix with measurement: an SLA that is not reported on weekly is not really an SLA.
Companion reading
mabbaz.com/blog-post/sla-matrix-design-fm-operations - the strategic guide on building and enforcing SLAs
Lead-magnet template from MAbbaz.com ¦ enterprise integration and implementation guidance ¦ mabbaz.com

## SLA Matrix
Severity | Description | Examples | Gold - Response | Gold - Resolution | Silver - Response | Silver - Resolution | Bronze - Response | Bronze - Resolution | Escalation L1 | Escalation L2 | Escalation L3
P1 - Critical | Full service outage or safety risk; business cannot continue | Site-wide power failure, HVAC failure to data centre, fire panel fault | 15 min | 4 h | 30 min | 8 h | 1 h | 24 h | On-call engineer | FM Manager | Director of Operations
P2 - High | Major function impaired; significant business impact, workaround difficult | Single building HVAC failure, lift outage in tower, BMS connectivity loss | 30 min | 8 h | 2 h | 24 h | 4 h | 48 h | Shift supervisor | FM Manager | Director of Operations
P3 - Medium | Function impaired; workaround available | Single AHU fault, lighting circuit failure, isolated water leak | 2 h | 24 h | 8 h | 3 days | 24 h | 5 days | Helpdesk | Shift supervisor | FM Manager
P4 - Low | Minor issue, no business impact | Cosmetic, scheduled non-urgent, low-impact requests | 24 h | 5 days | 48 h | 10 days | 5 days | 20 days | Helpdesk | Shift supervisor | -

## Definitions
Severity and Tier Definitions
Shared vocabulary for everyone who touches the SLA
Severity definitions
P1 - Critical | Complete loss of a core service or an active safety risk. No workaround. All-hands until restored.
P2 - High | Major impairment to a core service. Workaround possible but degraded. Senior on-call notified.
P3 - Medium | Localised impairment. Acceptable workaround available. Handled in normal hours.
P4 - Low | Minor or cosmetic. No business impact. Scheduled at convenience.
Tier definitions
Gold | Mission-critical sites or systems (data centres, hospitals, headquarters, regulated facilities). Fastest response, 24x7 coverage, dedicated on-call.
Silver | Important but not critical sites (regional offices, secondary facilities). Business-hours coverage with after-hours escalation path.
Bronze | Non-critical sites or systems (warehouses, archive buildings). Business-hours coverage only.
Lead-magnet template from MAbbaz.com ¦ enterprise integration and implementation guidance ¦ mabbaz.com