## Instructions
Work-Order Taxonomy
A clean classification of work-order types for any CMMS or EAM
How to use this template
1. Open the Taxonomy sheet. Each row is one work-order type with its code, definition, trigger, and the role that typically owns it.
2. These eight types cover almost every CMMS / EAM. If you need more, prefer to split an existing type into sub-types rather than adding a top-level one. Eight is already at the high end of what most teams can usefully distinguish.
3. Use the Code column as your CMMS configuration value. Short codes (REA, PPM, INS) are easier in dropdowns than long names.
4. The Priorities sheet pairs WO type with asset criticality and symptom severity to produce a default priority. Use it for new technicians and as a sanity check on dispatcher decisions.
5. Definitions matter more than the words. Disagreements between operations and finance about what counts as Project vs Reactive cost over the year if they are not nailed down.
6. Train the dispatchers first. Field technicians will use whatever taxonomy the helpdesk uses; the helpdesk is where consistency lives or dies.
Companion reading
mabbaz.com/blog-post/work-order-types-in-cmms - the strategic guide on WO classification
mabbaz.com/blog-post/preventive-maintenance-strategies - the deep dive on PPM frequencies
mabbaz.com/blog-post/asset-criticality-classification - the H / M / L input the priority matrix needs
Lead-magnet template from MAbbaz.com ¦ enterprise integration and implementation guidance ¦ mabbaz.com

## Taxonomy
Code | Type | Definition | Trigger | Typical Response | Owner | Default Priority | Notes
REA | Reactive | Unplanned work in response to a failure or symptom report | User call, helpdesk ticket, alarm | Same shift | Dispatcher | By severity matrix | The bucket where most CMMS volume sits if PPM is weak
PPM | Preventive (Planned) | Scheduled work to prevent failure; calendar or runtime based | PPM schedule on the asset | Per schedule, never reactive | Planner | Medium | Frequency and content come from manufacturer + criticality
PDM | Predictive | Condition-based work triggered by monitoring data exceeding a threshold | Sensor reading, vibration, oil analysis, BMS alarm | Within the prediction window | Reliability engineer | Medium | Requires sensors and a threshold; not a wishlist item
INS | Inspection | Visual or instrumented check that may or may not produce follow-on work | Schedule or compliance | Per schedule | Inspector | Low | Findings become REA or PPM work orders; the inspection itself does not fix anything
PRJ | Project | Capital or substantial improvement work bundled together | Capex approval | Per project plan | Project manager | By project priority | Cost goes to capex code; routed differently in finance
SR | Service Request | User-facing request for a service not directly involving repair | Service desk ticket from end-user | Per service catalogue | Service desk | Low to Medium | e.g. room setup, courier, badge issue
EMR | Emergency | Immediate threat to safety, security, or business continuity | Alarm, safety incident, supervisor escalation | Within minutes | On-call engineer | Critical | Bypasses normal queue; reviewed after the fact
STA | Statutory / Compliance | Mandated by regulation or insurance (lift inspections, fire systems, PAT testing) | Calendar, regulator schedule | By legal deadline | Compliance manager | High | Failure to complete has external consequences; tracked separately

## Priorities
Priority Matrix
Default priority by asset criticality and symptom severity
Criticality (rows) x Symptom severity (columns)
| Severe (down) | Major | Minor | Cosmetic
High criticality | P1 | P1 | P2 | P3
Medium criticality | P1 | P2 | P3 | P4
Low criticality | P2 | P3 | P4 | P4
How to read the matrix
A symptom on a high-criticality asset is rarely P3 or P4. The asset criticality compresses the priority scale upward.
Severe means the asset is non-functional. Major means partial function. Minor means full function but should be addressed. Cosmetic is no functional impact.
Use the matrix as a default. The dispatcher can override with documented reason; the override is the audit trail.
Lead-magnet template from MAbbaz.com ¦ enterprise integration and implementation guidance ¦ mabbaz.com